Equipment Program

Clinical Considerations for Prescribers
Bed Pan- Slipper, Plastic and Urinal

February  2013

Clinical Assessment

- Functional abilities of client - client needs to be able to roll, lift or bridge sufficiently to allow accurate placement of a bedpan?

- Sitting balance of client?

- Need for self help pole to assist with pan use?

- Large / full pan most suitable when client needing to have bowels open.

- Consider a urinal and full sized pan for male clients

- Will and can a carer assist client safely?

- Who will empty & clean bed pan or urinal?

Installation Considerations

- Client / carer know how to position the pan/urinal accurately check with observation

- Check carer is confident and safe with manual handling.

- Client can sit safely on the bedpan

- Organise installation of self help pole if required – check assessment considerations and installation instructions for this item.

For slipper bedpan:

- Can be postioned from between the legs if client can bridge, pan is slid under with the thin edge towards the small of the back.

- Can also be positioned from the side – client rolls onto side facing away from carer, pan is positioned with thin end toward small of back, client then rolls back onto pan.

- Watch for pressure areas where tapered end of slipper bedpan rests – may require padding

Client / Carer instructions

- Pan can be warmed with warm water prior to use

- Cleaning –  soak in warm water, clean well with detergent and rinse with warm water and disinfectant.

Safety and Review considerations

Review – 12 monthly, as standard

Checklist

- Equipment is still in use and still suitable for the functional needs of the client

- Bed pan unscratched and free of sharp edges

- Client / carer confident with manual handling

- Any additional equipment required?