Cushion Comparison Table

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| \*Suggested risk rating only as a guide and does not replace thorough clinical reasoning and trial of an individual’s needsNB: Incontinence covers can be ordered on request for most cushionsNB: Other brands of cushions can also be ordered, but are cat 2 requiring delegate approval before purchase |

|  |  |
| --- | --- |
| **Mm to inches** | **ROHO cells in mm** |
| 200mm - 8” | 380mm - 15” | 510mm - 20” | 6 cells – 300mm |
| 230mm - 9” | 405mm - 16” | 535mm 21” | 8 cells – 390mm |
| 255mm - 10” | 430mm - 17” | 560mm 22” | 9 cells – 430mm |
| 280mm - 11” | 460mm - 18” | 585mm 23” | 10 cells – 470mm |
| 305mm - 12” | 480mm - 19” | 610mm 24” | 11 cells – 500mm |
| 355mm - 14” |  |  | 12 cells = 540mm |

 |
| **Type** | **Sizes as usually available (mm or cell number)****Alternative sizes can be ordered on request but there may be a delay in supply** | **Cushion height** | **Stated Weight capacity** | **Suggested\* Pressure Risk rating** | **Approx cushion weight** | **Review cushion after** |
| **Foam (38:200) <75kg Blue** | 200x200AE04AI | 255x255AE04AJ | 305x305AE04AK | 405x405AE04AO | 460x405AE04AM | 460x460AE04AN | 50mm | 75kg | Comfort | <500g | 1 year |
| **Foam (50:250) >75kg Black** | 405x405AE04AO | 460x405AE04AP | 460x460AE04AQ | 535x405AE04AR | 535x 460AE04AS |  | 50mm | 120kg | Comfort | <500g | 1 year |
| **Air** |
| **Star cushion insert** | 8x6cellAE04D A |  |  |  |  |  | 50 &100 | Unlimited | High | <1kg | 2 years |
| **ROHO LP** | 9x9cellAE04Y A | 10x9cellAE04BC A | 10x10 cellAE04BD A | 11x10cellAE04BE A |  |  | 50mm | Unlimited | Medium | 1.5kg | 2 years |
| **ROHO HP** | 9x9cellAE04Z A | 10x9cellAE04AH A | 10x10 cell AE04BF A | 11x10cellAE04BG A |  |  | 100mm | Unlimited | High | 2kg | 2 years |
| **ROHO Quadtro** | 9X9cellAE04BI A | 10x9cellAE04BJ A | 10x10 cellAE04BK A | 11x10cellAE04BL A | 12x10cellAE04BLA A |  | 100mm | Unlimited | High | 2kg | 3 years |
| **Combination** |
| **ROHO hybrid elite** | 405x405AE04BR A | 460x405AE04BRA A | 510x460AE04BT A |  |  |  | 75mm | 225kg | High | 1.6kg | 2 years |
| **Jay 2 (std)** | 405x405AE04BU A | 460x405AE04BUA A | 510x460AE04BV A |  |  |  | 65mm | 113kg | Medium | 2.5kg | 2 years |
| **Jay 2 deep** | 405x405AE04BX A | 460x405AE04BXA A | 510x460AE04BZ A |  |  |  | 115mm | 113kg | High | 2.85kg | 2 years |
| **Jay Ion** | 405x405AE04DD A | 460x405AE04DE A | 460x460AE04DF A | 510x480AE04DG A |  |  | 100mm | 136kg | low | 1.2kg | 2 years |
| **Jay Fusion** | 510X460\*AE04DA A | 560X460~AE04DB A | 610x480~AE04DC A |  |  |  | 100mm | 136kg\*225kg~ | Medium | 2.4kg | 2 years |
| **Bariatric** |
| **Star Cushion LP** | 560X400AE04PB A | 560X460AE04PC A |  |  |  |  | 50mm | Unlimited | High | 2kg | 2 years |
| **Star Cushion HP** | 560X400AE04P A | 560X460AE04PA A |  |  |  |  | 100mm | Unlimited | Medium | 1.36kg | 2 years |