|  |  |  |
| --- | --- | --- |
| This form must be completed for all electronic door opener requests. Attach this form to a completed *Equipment Prescription/Request Form* and email to the Equipment Program at [DHSEquipmentProgram@sa.gov.au](mailto:DHSEquipmentProgram@sa.gov.au)  An electronic door opener has two components that need to be considered for provision:   * the door opener * the switch access   Consideration and recommendations must be given to **both aspects** of the prescription.  The standard provision is:   * 2 x remote switches (usually one in the bedroom and one for the wheelchair) * 1 x internal push button (usually used by staff / family) * 1 x external key pad * Automatic strike lock | | |
| SECTION 1: ASSESSOR TO COMPLETE | | |
| Client Name | | Client Phone |
| Assessor Name | | Assessor Phone |
| Information about House  Address  Year house built / approx. age of house | | |
| Electronic Door Opener Specifications  **Note**: The Equipment Program uses Dorma for the supply and installation of the door opener | | |
| Proposed System and Model Number | ED100 (up to 1100mm door width)  ED250 (door width greater than 1100mm) | |
| Which door in the home is having the electronic door opener installed? | | |
| Does the doorway require widening?  No  Yes, specify clear width required       mm | | |
| Is a Combi door required?  No  Yes | | |
| Remote switch requirements  **Note**: OT assessment and recommendations required  Does the client require a specialised switch?  No  Yes - If yes, provide details about  the switch you have assessed to be the most appropriate:  Examples of switches that can be provided:   |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | | [Image result for jellybean transmitter only](http://www.google.com.au/url?sa=i&rct=j&q=&esrc=s&source=images&cd=&cad=rja&uact=8&ved=2ahUKEwiXjsbej7LdAhUFLHwKHYXbCHgQjRx6BAgBEAU&url=http://tecsol.com.au/cms123/index.php?page%3Dshop.product_details%26cid%3D6%26part%3Dsubcat%26flypage%3Dflypage.tpl%26product_id%3D1320%26category_id%3D8%26option%3Dcom_virtuemart%26Itemid%3D1&psig=AOvVaw2UhLjEVcONl63r5G9RruCK&ust=1536726840884527) | jellybean transmitter only (standard supply) | [Image result for radio linked pendant](http://www.google.com.au/url?sa=i&rct=j&q=&esrc=s&source=images&cd=&cad=rja&uact=8&ved=2ahUKEwisnP6jj7LdAhWNwMQHHXKYA-kQjRx6BAgBEAU&url=http://tecsol.com.au/cms123/index.php?page%3Dshop.product_details%26cid%3D19%26part%3Dsubcat%26flypage%3Dflypage.tpl%26product_id%3D1152%26category_id%3D56%26option%3Dcom_virtuemart%26Itemid%3D224&psig=AOvVaw1uv2sXMFOyA_ao5ZNL_-5e&ust=1536726515480160) | radio linked pendant, adapted | C:\Users\larthu01\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Word\20180907_115643.jpg | Square wall button | | | |
| Which part of the body will the person use to access the switch (e.g. hand, finger, knee, elbow, breath, proximity etc)?    Where does the wheelchair switch need to be positioned?    Where does the bedroom switch need to be positioned? | | |
| Assessor Checklist  Equipment Prescription/Request Form completed  Image of existing door provided  Copy of relevant approvals sent to the Equipment Program (if homeowner is Housing SA or other Community Housing Group)  The “*Terms and Conditions for Provision of Home Modifications*” document has been provided to the participant / advocate / guardian and the home owner (where these people are different) | | |
| SECTION 2: CLIENT / GUARDIAN / ADVOCATE TO COMPLETE | | |
| I have been involved in the decision making and to the best of my knowledge I believe the recommendations will meet the needs of those using the electronic door opener and any associated modifications listed above.  I understand that this is subject to final consultation with the installer and approval by the funder.  I agree for the Equipment Program to coordinate the installation of the recommended electronic door opener and any associated modifications through an appropriately qualified installer.  I have received, read, understood and accept the “*Terms and Conditions for Provision of Home Modifications*”.  I am the home owner, and I give permission for the installation of the electronic door opener and any associated modifications listed above into my home,  OR  I am **not** the home owner (private home owner to complete section 3)  Signature       Date  Name       Best Contact Number | | |
| SECTION 3: OWNER OF THE PROPERTY (if different to section 2) | | |
| I, the owner of this dwelling, give permission for the installation of the electronic door opener and any associated modifications listed above into my home  NB: where the home owner is government or community housing, forward any additional approval forms required by that group to the Equipment Program.  I agree for the Equipment Program to coordinate the installation of the recommended electronic door opener and any associated modifications through an appropriately qualified installer.  I have received, read, understood and accept the “*Terms and Conditions for Provision of Home Modifications*”.  Signature       Date  Name       Best Contact Number | | |